# Version Submitted by the Ministry of Environmental Protection and Regional Development

# Annex No. 3

to Cabinet of Ministers

Regulation No. 149

adopted on 18 March 2014

Energy Audit Report of the Building

_____________________________________________________

Name

Address:

Photo fixation of the building

CONTENT

1. General Information

2. Basic Information on Technological Process of Production Provision

3. Basic Information on the Building

4. Technical System and Energy Division of the Building

5. Energy Consumption and Accounting

6. Recommendations for Improvement of Energy Efficiency

7. Energy Efficiency Indicators and Forecast on Changes after the Implementation of Recommendations for Improvement of Energy Efficiency

ANNEX

1. General information

1.1. Identification of the building

| 1.1.1. | Address |  |
| --- | --- | --- |
| 1.1.2. | Cadastre number of the building |  |
| 1.1.3. | Classification of the building |  |
| 1.1.4. | Part of the building (an explanation is provided if an evaluation has been performed for the part of the building) |  |
|  | Nearest residential area |  |
|  | Average temperature of outdoor air during the heating period (°C) |  |
|  | Standard number of heating days Dnapr |  |

1.2. Basic information about the owner or holder of the building

| 1.2.1. | Name/name, surname (if the owner or holder is a natural person) |  |
| --- | --- | --- |
| 1.2.2. | Registration number |  |
| 1.2.3. | Legal address |  |
| 1.2.4. | Contact person |  |
| 1.2.5. | Contact telephone |  |

1.3. Energy audit

| 1.3.1. | Name, surname |  |
| --- | --- | --- |
| 1.3.2. | Certificate number |  |
| 1.3.3. | Enterprise* |  |
| 1.3.4. | Registration number of the enterprise* |  |
| 1.3.5. | Contact telephone |  |

Note. * Not specified if the energy auditor is a natural person

1.4. Data on energy audit

| 1.4.1. | Date of the survey of the building |  |
| --- | --- | --- |
| 1.4.2. | Number of energy audit report |  |

1.5. Energy efficiency evaluation limit

| Name of the unit | Area | Short description of processes | Division of energy carriers and energy flow | Evaluated volume of produced/consumed energy |
| --- | --- | --- | --- | --- |
|  | m2 |  |  | kWh/per year | % from total* |
| Basic value |  |  |  |  |  |
| TOTAL |  | - | - |  |  |

Note. If information on the building in which there is no separate accounting of energy carriers has been included in the energy efficiency evaluation and energy audit report, but the building is one of several buildings with joint energy resource accounting, the relevant section should include a general system energy balance, specifying all logical units that are located within the limits of energy resource accounting and in which energy is being used/produced. The unit whereof the report has been drawn up must be included in the energy balance as well.

* as part (%) of the total energy carrier consumption volume within accounting limits

** — preferable to append a prepared schematic energy flow depiction among the buildings and processes.

2. Basic Information on the Building

2.1. Information on the building

| 1.1.2. | Constructive solution |  |
| --- | --- | --- |
| 2.1.2. | Year of acceptance for service |  |

| 2.1.3. | Floors | 2.3.1. basement |  | (applicable/not applicable) |
| --- | --- | --- | --- | --- |
|  |  | 2.3.2. standard floors |  | (number) |
|  |  | 2.3.3. technical floors |  | (number) |
|  |  | 2.3.4. mansard |  | (applicable/not applicable) |
|  |  | 2.3.5. garret floor |  | (applicable/not applicable) |
| 2.1.4. | Total area (m2) |  |
| 2.1.5. | External dimensions of the building (if the building has an irregular form, a sketch shall be attached in the annex) | 2.1.5.1. length (m) |  |
|  |  | 2.1.5.2. width (m) |  |
|  |  | 2.1.5.3. height (m) |  |
| 2.1.6. | Previously performed energy efficiency measures |
| No. | Year | Measure |
| 2.1.7. | Other information |
| 2.1.8. | Photo documentation of the survey of the building or thermal imaging appended on |  | pages |

2.2. Information on calculation areas and groups of premises

|  | Calculation parameters in the heating period* | Calculation parameters in the cooling period* |
| --- | --- | --- |
| No. | Number and name of the area | Included rooms/name of the group of rooms | Calculation area | Average height | Calculation capacity | Temperature | Length of period | Air changes | Calculation temperature | Length of period | Air changes |
|  |  |  |  |  |  | Calculation | Outdoor air |  |  | Calculation | Outdoor air |  |  |
|  |  |  | m2 | m | m3 | °C | °C | days | 1/h | °C | °C | days | 1/h |
| Type of area in accordance with LBN 002-01 |  |
| 1 | AREA 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of area in accordance with LBN 002-01 |  |
| Type of area in accordance with LBN 002-01 |  |
| Total |  | - |  |  |
| On average | - |  | - |  |

Note. * Period parameters used to determine the calculated energy efficiency are specified

3. Building Envelopes of the Building

3.1. Information on each type of external building envelopes that covers the heating space to be included in the calculation area

| No. | Building envelopes | Material(s) | Thickness | Area | Heat transmittance coefficient of the construction element (U) | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | mm | m2 | W/(m2 K) | K | W/K |
| No. | Thermal bridges | Name | Length | Heat transmittance coefficient of the thermal bridge (ψ), | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | m | W/(mK) | K | W/K |
| Total AREA 1 |  |

| No. | Building envelopes | Material(s) | Thickness | Area | Heat transmittance coefficient of the construction element (U) | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | mm | m2 | W/(m2 K) | K | W/K |
| No. | Thermal bridges | Name | Length | Heat transmittance coefficient of the thermal bridge (ψ), | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | m | W/(mK) | K | W/K |
| Total |  |
| No. | Building envelopes | Material(s) | Thickness | Area | Heat transmittance coefficient of the construction element (U) | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | mm | m2 | W/(m2 K) | K | W/K |
| No. | Thermal bridges | Name | Length | Heat transmittance coefficient of the thermal bridge (ψ), | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | m | W/(mK) | K | W/K |
| Total |  |
| Heat loss of building envelopes of the building, coefficient HT | actual (W/K) |  |
|  | standard* (W/K) |  |

Note. * Calculated in accordance with Cabinet Regulation No. 495 of 27 November 2001, "Regulations Regarding Latvian Construction Standard LBN 002-01 Thermotechnics of Building Envelopes".

** If necessary, supplement according to the number of areas.

4. Technical System and Energy Division of the Building

4.1. Ventilation systems in areas of the building

4.1.1. Calculation parameters

| No. | Number and name of the area | Calculation capacity | Calculation temperature | Air changes* | Ventilation heat loss coefficient Hve | Type of ventilation system | Length of operation, per year | Energy retrieval, on average |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | m3 | °C | 1/h | W/K |  | h | % |
| Parameters in the heating period |
| Parameters in the cooling period |
| Other information: |  |

Note. * infiltration inclusive

** if the area is used in various temperature and ventilation regimes, each regime shall be specified separately by indicating the regime parameters

4.1.2. Air conditioning — data on equipment

| No. | Name, model of equipment | Production year | Volume of produced energy (kWh/per year) | Inspection report* |
| --- | --- | --- | --- | --- |
|  |  |  |  | Attached (yes/no) | Date |

Note. * In accordance with Cabinet Regulation No. 383 of 9 July 2013, "Regulations regarding Energy Performance Certification of Buildings", upon the performance of energy performance certification at the building, an inspection must be performed and a report must be drawn up regarding the inspection of cooling equipment.

4.1.3. Other information

4.2. Calculated heat gains at the building*

4.2.1. Calculation parameters

| No. | Number and name of the area | Indoor heat gains | Solar heat gains | Gains use coefficient | Total heat gains** |
| --- | --- | --- | --- | --- | --- |
|  |  | Metabolic | From lighting device | From hot water system | From/to AVK systems | From/to processes, objects |  |  |  |
|  |  | kWh/m2 | kWh/m2 | kWh/m2 | kWh/m2 | kWh/m2 | kWh/m2 |  | kWh/m2 | kWh/per year |
| Parameters in the heating period |

Parameters in the cooling period

Note. * Division in accordance with Paragraph 94 of Cabinet Regulation No. 348 of 25 June 2013, "Regulations regarding Calculation of Energy Performance of Buildings".

** total calculated heat gains in the given period/regime.

4.2.2. Other information

4.3. Thermal energy supply/production and management

4.3.1. Thermal energy production equipment

| Name, model of equipment | Production year | Type of fuel | Fuel consumption (on average per year), specify also the unit of measurement | Efficiency coefficient | Volume of produced energy (kWh/per year) | Inspection report* |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Attached (yes/no) | Date |

Note. * In accordance with Cabinet Regulation No. 383 of 9 July 2013, "Regulations regarding Energy Performance Certification of Buildings", upon the performance of energy performance certification at the building, an inspection must be performed and a report must be drawn up regarding the inspection of heating equipment.

| 4.3.2. | Thermal energy supply system |  | district heating |
| --- | --- | --- | --- |
|  |  |  |  | Scheme of dependent connection |
|  |  |  |  | Scheme of independent connection |
|  |  |  | local thermal energy supply |
| 4.3.3. | Information on external heat transmission networks included in the energy balance of the enterprise, located in the territory (length of networks, parameters of pipes and thermal insulation, technical condition) |  |
| 4.3.4. | Other information |  |

4.4. Distribution of heat — heating system*

| 4.4.1. | Heating system |  | single-pipe |
| --- | --- | --- | --- |
|  |  |  | two-pipe |
|  |  |  | other type (specify): |  |
| 4.4.2. | Regulation, control and accounting of thermal energy supply in areas |  |
| 4.4.3. | Total length of the heating main |  |
| 4.4.4. | Technical condition of pipe insulation |  |
| 4.4.5. | Other information |  |

Note. * If the situation differs in various areas of the building, it is possible to specify in a separate table for each area separately.

4.5. Hot water distribution system

| 4.5.1. | Average temperature of hot water supply (°C) |  |
| --- | --- | --- |
| 4.5.2. | Inflow temperature of cold water (°C) |  |
| 4.5.3. | Preparation of hot water |  | preparation in the heating unit |
|  |  |  | centralised distribution |
|  |  |  | individual |
| 4.5.4. | Type of hot water distribution system |  | without circulation |
|  |  |  | with circulation |
| 4.5.5. | Total length of distribution system pipes |  |
| 4.5.6. | Technical condition of pipe insulation |  |
| 4.5.7. | Other information on the preparation of hot water |  |

5. Energy Consumption and Accounting

5.1. Energy consumption division (based on calculated data)

| No. | Energy consumption division*3 | Measured data, per year*1 | Average adjusted*2 | Specific adjusted*2 | Calculated data, per year*3 |
| --- | --- | --- | --- | --- | --- |
|  |  | Thermal energy, average | Electricity, average | Total average | Specific | per year | per year | Thermal energy, average | Electricity, average | Total average | Specific | Emissions factor | Amount of CO2 emissions per year |
|  |  | kWh | kWh | kWh | kWh/m2 | kWh | kWh/m2 | kWh | kWh | kWh | kWh/m2 | kg/kWh | kg |
| 5.1.1. | For heating |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.1.2. | For hot water |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.1.3. | For cooling |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.1.4. | For mechanical ventilation |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.1.5. | For illumination |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.1.6. | Other consumers*4 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.1.7. | Total |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.1.8. | Explanations on energy consumption division per systems with a single meter |  |

Notes

*1 Average consumption data per last two years (2012 and 2013) from tables in Section 5.3. If no data have been measured, the calculated data from tables in Section 5.3 shall be specified. If there is a joint accounting, the data shall be specified in one row by providing an explanation in Section 5.1.8.

*2 Energy consumption that has been adjusted in accordance with climate conditions; the adjustment cannot exceed 10%, compared to the measured data.

*3 Division calculation per positions must be conducted even if there is no divided accounting.

*4 Other consumers are specified that cannot be detailed separately, but altogether do not constitute more than 10% of the total average measured electricity or thermal energy consumption volume.

5.2. Fuel consumption* — all fuel types must be specified that are being consumed to ensure production, heating and other processes divided per energy resources (if there are no meter indications, specify the calculated volume and division per months — according to consumption, instead of purchase volumes).

| Year | Division per energy resources | January | February | March | April | May | June | July | August | September | October | November | December | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Type of fuel | Measurement | Emissions factor | Net calorific value* |  |  |  |  |  |  |  |  |  |  |  |  |  |

Note: fuel used for transportation needs is not included herein.

* specify the net calorific value used in the calculation (kWh/unit of measurement)

5.3. Energy consumption data

5.3.1. Thermal energy consumption to ensure heating

| Year |  | January | February | March | April | May | June | July | August | September | October | November | December | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2012 | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2013 | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total on average (kWh per year) |  |

| Calculated data (completed if there are no meters) |
| --- |
|  | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of the method used by the expert |  |

5.3.2. Thermal energy consumption for the preparation of hot water

| Year |  | January | February | March | April | May | June | July | August | September | October | November | December | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2012 | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2013 | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total on average (kWh per year) |  |
| Calculated data (completed if there are no meters) |
|  | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of the method used by the expert |  |

5.3.3. Cold water consumption

| Year |  | January | February | March | April | May | June | July | August | September | October | November | December | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2012 | Cold water consumption, m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2013 | Cold water consumption, m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total on average (m3 per year) |  |
| Calculated data (completed if there are no meters) |
|  | Cold water consumption, m3/per year |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of the method used by the expert |  |

5.3.4. Hot water consumption

| Year |  | January | February | March | April | May | June | July | August | September | October | November | December | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2012 | Hot water consumption, m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2013 | Hot water consumption, m3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total on average (m3 per year) |  |
| Calculated data (completed if there are no meters) |
|  | Hot water consumption, m3/per year |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of the method used by the expert |  |

5.3.5. Electricity consumption

| Year |  | January | February | March | April | May | June | July | August | September | October | November | December | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2012 | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2013 | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total on average (kWh per year) |  |
| Calculated data (completed if there are no meters) |
|  | Total energy consumption, kWh |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of the method used by the expert |  |

6. Recommendations for Improvement of Energy Efficiency

6.1. Energy and carbon dioxide gains

| No. | Measure* | Supplied energy economy, kWh/per year* | Carbon dioxide gains after changing technologies in which fossil energy resources are used to technologies in which renewable energies are used |
| --- | --- | --- | --- |
|  |  | For heating | For cooling | For hot water | For mechanical ventilation | For illumination | Other consumers |  |
|  |  | Energy economy, kWh/per year | Emissions factor**, kg/kWh | Energy economy, kWh/per year | Emissions factor**, kg/kWh | Energy economy, kWh/per year | Emissions factor**, kg/kWh | Energy economy, kWh/per year | Emissions factor**, kg/kWh | Energy economy, kWh/per year | Emissions factor**, kg/kWh | Energy economy, kWh/per year | Emissions factor**, kg/kWh | Replaced/produced energy volume*** | Emissions factor**, kg/kWh |
|  | Total |  | - |  | - |  | - |  | - |  | - |  | - |  | - |

Note. * Calculated energy gain ensured by the introduction of an energy efficiency measure. Accordingly if any energy efficiency measure reduced the consumption of one energy carrier, but increases the consumption of another energy carrier — it must be specified in detail. If the energy efficiency measure in the given position increases energy consumption, a negative gain shall be specified.

** If values are adjusted, the calculation of used emissions factors must be specified in Paragraph 6.2.

*** If energy efficiency measures are conducted and also replacement of fossil energy, the replaced fossil energy volume shall be calculated from the energy volume that has been calculated after the calculation of external energy efficiency measures

6.2. Used emissions factors (specify what emission factors have been used for each fuel)

6.3. Additional Measures

Measures that are regarded as necessary by a certified architect or certified construction engineer in addition to the measures specified in the energy audit report and that do not directly influence the achievable CO2 emissions reduction (costs must be obligatory included in the project as non-eligible costs).

| Name of the measure | Substantiation and description | Information on coordination of additional measures with the project applicant, as well as source of financing of additional measures |
| --- | --- | --- |

7. Energy Efficiency Indicators and Forecast on Changes after the Implementation of Recommendations for Improvement of Energy Efficiency

| No. | Energy consumption division* | Current situation (Calculated date from table 5.1) | Forecast after the implementation of energy efficiency measures (in accordance with Section 6) | Difference — CO2 emissions reduction** |
| --- | --- | --- | --- | --- |
|  |  | Total consumption | Specific | CO2 emission | Total consumption | Specific | CO2 emission |  |
|  |  | kWh/per year | kWh/m2 per year | kgCO2 per year | kWh/per year | kWh/m2 per year | kgCO2 per year | kgCO2 per year |
|  | CONSUMPTION REDUCTION |  |  |  |  |  |  |  |
| 7.1. | For heating |  |  |  |  |  |  |  |
| 7.2. | For hot water |  |  |  |  |  |  |  |
| 7.3. | For cooling |  |  |  |  |  |  |  |
| 7.4. | For mechanical ventilation |  |  |  |  |  |  |  |
| 7.5. | For illumination |  |  |  |  |  |  |  |
| 7.6. | Other consumers*** |  |  |  |  |  |  |  |
| 7.7. | Total |  |  |  |  |  |  |  |
|  | REPLACED ENERGY FROM FOSSIL RESOURCES |  |  |  | Volume of replaced energy (kWh/per year) | Specific (kWh/m2 per year) |  | CO2 emissions reduction** |
| 7.8. | Carbon dioxide gains after changing technologies in which fossil energy resources are used to technologies in which renewable energies are used |  |  |  |  |  |  |  |
| 7.9. | Total |  |

Note. Carbon dioxide (CO2) emissions volume is calculated on the bases of emissions factors published by State Limited Liability Company "Latvian Environment, Geology and Meteorology Centre" that have been used in the last auditing of greenhouse gas emissions in accordance with Cabinet Regulation No. 217 of 27 March 2012 "Regulations regarding National Inventory System of Greenhouse Gas Emission Units".

* The data must precisely match the calculated data to these positions that have been specified in other sections of the energy audit report.

** Overall the economised energy volume and CO2 emissions reduction cannot exceed the initially calculated indicators prior to recommendations on the improvement of energy efficiency.

* Other consumers are specified that cannot be detailed separately, but altogether do not constitute more than 10% of the total average measured electricity or thermal energy consumption volume. Total amount "7.6.  Other consumers" must be divided in positions if such equipment has been included therein whose energy efficiency is changed within the scope of the project, specifying this equipment and energy consumption indicators thereof separately.

8. Adjustment of heat consumption (if the average height of the room in calculation areas exceeds 3.5 m, the energy auditor shall perform recalculation of thermal energy consumption for heat for height 3.5 m above areas)

| Total calculation volume | Total calculation volume divided by 3.5 | Energy consumption forecast for heating (from Section 7 "For heating") | Recalculated consumption for heating per unit of area with height 3.5 m (column 3 divided by column 2). |
| --- | --- | --- | --- |
| Energy auditor |  |  |  |  |  |  |
|  | (name, surname) |  | (signature) |  | (date) |  |

ANNEX

1. Photo documentation or thermal imaging of the building survey

2. Achievable results of building envelopes of the building and technical system after the performance of energy efficiency measures

2.1. Information on each type of external building envelopes that covers the heating space to be included in the total calculation area

| No. | Building envelopes | Material(s) | Thickness | Area | Heat transmittance coefficient of the construction element (U) | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | mm | m2 | W/(m2 K) | K | W/K |
| No. | Thermal bridges | Name | Length | Heat transmittance coefficient of the thermal bridge (ψ), | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | m | W/(mK) | K | W/K |
| Total AREA 1 |  |
| No. | Building envelopes | Material(s) | Thickness | Area | Heat transmittance coefficient of the construction element (U) | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | mm | m2 | W/(m2 K) | K | W/K |
| No. | Thermal bridges | Name | Length | Heat transmittance coefficient of the thermal bridge (ψ), | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | m | W/(mK) | K | W/K |
| Total |  |

| No. | Building envelopes | Material(s) | Thickness | Area | Heat transmittance coefficient of the construction element (U) | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | mm | m2 | W/(m2 K) | K | W/K |
| No. | Thermal bridges | Name | Length | Heat transmittance coefficient of the thermal bridge (ψ), | Difference of temperatures between the warm and cold sides of the building structure | Heat loss coefficient of the construction |
|  |  |  | m | W/(mK) | K | W/K |
| Total |  |
| Heat loss coefficient HT of building envelopes of the building | forecast (W/K) |  |
|  | standard* (W/K) |  |

Note. * Calculated in accordance with Cabinet Regulation No. 495 of 27 November 2001, "Regulations Regarding Latvian Construction Standard LBN 002-01 Thermotechnics of Building Envelopes".

** If necessary, supplement according to the number of areas.

2.2. Ventilation in areas of the building — achievable indicators after performance of energy efficiency improvement measures

2.2.1. Calculation parameters

| No. | Number and name of the area | Calculation capacity | Calculation temperature | Air changes* | Ventilation heat loss coefficient Hve | Type of ventilation system | Length of operation | Energy retrieval, on average |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | m3 | °C | 1/h | W/K |  | h | % |
| Parameters in the heating period |
| Parameters in the cooling period |

Note. * Infiltration inclusive

** if the area is ventilated in various regimes, each regime shall be specified separately by indicating the regime parameters

2.2.2. Ventilation and air conditioning — data on installed equipment

| No. | Name, model of equipment | Electric power of equipment | Productivity of equipment | Heat retrieval efficiency | Planned consumed energy volume | Planned produced energy volume | Planned number of working hours per year |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | kW | m3/h | % | kWh/per year | kWh/per year | h |

2.3. Calculated heat gains at the building*

| No. | Number and name of the area | Indoor heat gains | Solar heat gains | Gains use coefficient | Total heat gains** |
| --- | --- | --- | --- | --- | --- |
|  |  | Metabolic | From lighting devices | From hot water system | From/to AVK systems | From/to processes, objects |  |  |  |
|  |  | kWh/m2 | kWh/m2 | kWh/m2 | kWh/m2 | kWh/m2 | kWh/m2 |  | kWh/m2 | kWh/per year |
| Parameters in the heating period |  |  |
| Parameters in the cooling period |  |  |

Note.* Division in accordance with Paragraph 94 of Cabinet Regulation No. 348 of 25 June 2013, "Regulations regarding Calculation of Energy Performance of Buildings".

** Total calculated heat gains in the given period/regime.

3. Technical information and energy consumption of illumination

| No. | Room/or group of rooms | Current situation | Forecast | Difference |
| --- | --- | --- | --- | --- |
|  |  | Lighting devices* | Illumination level (average) lx | Total power W | Hours per year h | Consumption | Lighting devices* | Illumination level (average) lx | Total power W | Hours per year h | Consumption | Energy consumption, |
|  |  |  |  |  |  | kWh/per year |  |  |  |  | kWh/per year | kWh |
| TOTAL |  |  |  |  |  |  |  |  |  |

* — type of lighting device, type of bulbs, power of bulbs, number of bulbs shall be specified.

4. Energy consumption before and after performance of renovation measures in other equipment*

| No. | Type of equipment | Before renovation measures | After renovation measures | Difference |
| --- | --- | --- | --- | --- |
|  |  | Nominal power | Average weighed power | Working hours per year | Energy consumption, | Nominal power | Average weighed power | Working hours per year | Energy consumption, | Energy consumption, |
|  |  | kW | kW | h | kWh | kW | kW | h | kWh | kWh |
| TOTAL |  |  |

* Equipment whose operation and energy consumption is not influenced as a result of the project implementation shall not be specified.

|  | Energy economy, kWh/per year | Emissions factor ECO2 (kgCO2/kWh) | Carbon dioxide reduction (kgCO2) | kWh/m2 per year for heating |
| --- | --- | --- | --- | --- |
| Thermal energy, total |  |  |  |  |
| Electricity, total |  |  |  |  |
| Other |  |  |  |  |
| Change of technologies |  |  |  |  |

EVALUATION OF ENERGY EFFICIENCY OF THE BUILDING

Acting Minister

for Environmental Protection

and Regional Development,

Minister for Justice	Baiba Broka